NED: Information about the suspension of factory and damages caused by flash flood

On 18/08/2017, North- West Electric Investment and Development Joint Stock Company disclosed information about the suspension of factory and damages caused by flash flood as follows:

The flash flood which happened on 03/08/2017 in Muong La District, Son La Province caused serious damages to Nam Chien Hydropower Plan No. 2:

1. The factory suspended operation from 2:20 am – 03/08/2017

2. Headwork cluster

- Landslide filled the water-receiving gate, damaged 03 waste prevention nets and made the water-supply pipeline broken.

- Mud, firewood and waste went to the tunnel, in which, a part went into machine units and a part went to the technical water system

- The lighting made the lighting system broken

- The optical fiber system was cut off, so camera system did not work

- The road from the cluster to the factory was damaged due to landslide

- All the communication system was cut off

3. Factory

- The flash flood made the equipment like control cabinet, electric motor… broken

- Mud was stuck in the tunnel

4. The 110kV transmission line: damaged due to landslide

5. The discharge channel was also filled by rocks, sand and mud.

As of the current moment, the Company still has to suspend the operation of factory to overcome the consequences of the flood.  Total damage is estimated at over VND 20 billion, directly affecting to the business result and the solvency.