VAV: The upstream water at Song Da clean water plant is contaminated with waste oil

On 16 Oct 2019, VIWACO Joint Stock Company announced the upstream water at Song Da clean water plant is contaminated with waste oil as follows:

From 10 Oct 2019, the customer of Viwaco reflected the running water with unpleasant odor. Viwaco asked Wiwasupco – upstream water producer (Song Da Water Supply Plant) to supply water to Viwaco’s water supply system and informed the Hanoi agencies and took water samples for water test. After that, Hanoi City set up an inspection team for checking operation of Song Da Water Supply Plant and relate units

In the afternoon of 15 Oct 2019, Hanoi City held a press conference to disclose the reason for Song Da water with unpleasant odor (contaminated with waste oil at the upstream water and styrene in water exceeding the permissible standards). The City directed Wiwasupco to deal with the trouble urgently and cooperated with water supply units in Hanoi City to clean pipes, pump station, tanks… to supply the clean water to customers

In the afternoon on 16 Oct 2019, Viwaco is in the progress of implementing the direction of Hanoi city, cleaning pipes, tanks… and supply clean water to customers with tanks. In the time of Song Da water in contamination, water production of Viwaco to customers might be affected due to shortage of input water resources